Ordinance No. ______				_____________________, 2026

Rich County Ordinance Regarding Water and Sewage Requirements

for Issuance of a Building Permit

The County Legislative Body of Rich County, Utah ordains as follows:

Section 1.  Purpose.

This ordinance addresses water and sewage requirements for new building permits.

Section 2.  Sewer connection requirement.

A.	A building permit for new construction involving sewer within 600 feet of 			the Bear Lake Special Service District requires connection to the central 			sewer system.

B.	If connection to a public sewer system is available to the proposed structure 			or use, a building permit shall not be issued unless the proposed building or 		use connects with the public sewer system.

C.	If the proposed structure or use may be served by a public sewer system by 			the logical extension of the boundaries of the public entity providing the 			public sewer system, a building permit shall not be issued until said public 			entity has had the opportunity to annex or reject annexation of the land 			where the structure or use will be located.

D.	Whenever connection to a public sewer system is not feasible (as provided 			in this section), a sewage disposal method shall comply with the 				requirements of the Bear River District Health Department and be 				approved by the County’s Building Inspector prior to issuance of a building 		permit.

Section 3.  Water requirements for building permit.

The application for a building permit must also give satisfactory evidence of: (1) an 	ownership interest in the water to be supplied and certified valid approvals for said 	use from the Utah State Engineer and (2) evidence that piping water into the 	proposed building will not diminish the supply of water to other existing dwellings 	below 1,600 gallons per day for each dwelling unit which involves sprinkling of 	lawn or other outside use and 800 gallons per day for each dwelling unit that does 	not include outside use of water.

Section 4.  Effective Date.

This ordinance shall become effective immediately upon posting as provided by 	law.

APPROVED and ADOPTED this ______ day of ___________________, 2026.

BOARD OF RICH COUNTY COMMISSIONERS

__________________________________________

Chairman

ATTEST:

______________________________________

Rich County Clerk

Commissioner Bill Cox voted 	             _________

Commissioner Sim Weston voted   	 _________

Commissioner Jonathan Lee voted      _________